Electrical Safety

Improper Use of Extension and Flexible Cords

Am I In Danger? The normal wear and tear on extension and flexible cords at your site can loosen or expose wires, creating hazardous conditions [for additional information, see Flexible Cords]. Cords that are not 3-wire type, not designed for hard-usage, or that have been modified, increase your risk of contacting electrical current. How Do I Avoid Hazards? Use factory-assembled cord sets. Use only extension cords that are 3-wire type. Use only extension cords that are marked with a designation code for hard or extra-hard usage. Use only cords, connection devices, and fittings that are equipped with strain relief. Remove cords from receptacles by pulling on the plugs, not the cords. Continually audit cords on-site. Any cords found not to be marked for hard or extra-hard use, or which have been modified, must be taken out of service immediately. Additional Information: 29 CFR 1926.405, Wiring methods, components, and equipment for general use. OSHA Standard. 1926.405(g)(1)(iii), Prohibited uses Electrical Safety: Safety and Health for Electrical Trades Student Manual. US Department of Health and Human Services (DHHS), National Institute for Occupational Safety and Health (NIOSH) Publication No. 2002-123, (2002, January). Electrical Contractors Industry. OSHA Safety and Health Topics Page. Provides information about the hazards that electrical workers may experience as a part of their jobs. These cords are improperly wired directly to the electrical circuit, are not protected by a GFCI, and are two-wire cords that are not grounded and not rated for hard- or extra-hard service. Improper Use of Extension and Flexible Cords

Lack of Ground-Fault Protection

Am I In Danger? Due to the dynamic, rugged nature of construction work, normal use of electrical equipment at your site causes wear and tear that results in insulation breaks, short-circuits, and exposed wires [for additional information, see Flexible Cords and Power Tools]. If there is no ground-fault protection, these can cause a ground-fault that sends current through the worker's body, resulting in electrical burns, explosions, fire, or death. How Do I Avoid Hazards? Use ground-fault circuit interrupters (GFCIs) on all 120-volt, single-phase, 15- and 20-ampere receptacles, or have an assured equipment grounding conductor program (AEGCP). Follow manufacturers' recommended testing procedure to insure GFCI is working correctly. Use double-insulated tools and equipment, distinctively marked. Use tools and equipment according to the instructions included in their listing, labeling or certification. Visually inspect all electrical equipment before use. Remove from service any equipment with frayed cords, missing ground prongs, cracked tool casings, etc. Apply a warning tag to any defective tool and do not use it until the problem has been corrected. These receptacles are not protected by a GFCI. If there is no AEGCP on this jobsite this is a violation. Lack of Ground-Fault Protection Additional Information: 29 CFR 1926 Subpart K, Electrical. OSHA Standard. 1926.404, Wiring and design protection. 1926.404(b)(1)(i) Electrical Safety: Safety and Health for Electrical Trades Student Manual. US Department of Health and Human Services (DHHS), National Institute for Occupational Safety and Health (NIOSH) Publication No. 2002-123, (2002, January). Electrical Contractors Industry. OSHA Safety and Health Topic Page. Provides information about the hazards that electrical workers may experience as a part of their jobs.

Path to Ground Missing or Discontinuous

Am I In Danger? If the power supply to the electrical equipment at your site is not grounded or the path has been broken, fault current may travel through a worker's body, causing electrical burns or death [for additional information see, Flexible Cords and Power Tools]. Even when the power system is properly grounded, electrical equipment can instantly change from safe to hazardous because of extreme conditions and rough treatment. How Do I Avoid Hazards? Ground all power supply systems, electrical circuits, and electrical equipment. Frequently inspect electrical systems to insure that the path to ground is continuous. Visually inspect all electrical equipment before use. Take any defective equipment out of service. Do not remove ground prongs from cord- and plug-connected equipment or extension cords. Use double-insulated tools. Ground all exposed metal parts of equipment. Ground metal parts of the following non-electrical equipment, as specified by the OSHA standard [29 CFR 1926.404(f)(7)(v)]: Frames and tracks of electrically operated cranes. Frames of non-electrically driven elevator cars to which electric conductors are attached. Hand-operated metal shifting ropes or cables of electric elevators. Metal partitions, grill work, and similar metal enclosures around equipment of over 1kV between conductors. Removing the ground pin from a plug to fit an ungrounded outlet not only means your work area is unsafe, but makes the cord unfit for future work where there is grounding. Missing or Discontinuous Path to Ground Additional Information: 29 CFR 1926 Subpart K, Electrical. OSHA Standard. 1926.404, Wiring design and protection 1926.404(b)(1)(i), General Electrical Safety: Safety and Health for Electrical Trades Student Manual. US Department of Health and Human Services (DHHS), National Institute for Occupational Safety and Health (NIOSH) Publication No. 2002-123, (2002, January). Electrical Contractors Industry. OSHA Safety and Health Topics Page. Provides information about the hazards that electrical workers may experience as a part of their jobs.

| www.osha.gov | www.dol.gov |
| --- | --- |